# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply and Delivery Handheld Spectrometers

Publication reference: EUBAM-26-18

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | HAND HELD SPECTROMETERS The baseline requirement is for a Raman-only handheld device, optimized for border and customs screening of unknown powders, liquids, narcotics, and industrial chemicals, with the ability to analyse through transparent packaging and provide rapid, non-destructive identification in field conditions. The primary applications are customs and border control screening at land borders, ports, airports, and mail centers for identification of illicit drugs, explosive precursors, and suspicious chemical substances. 1/Technical Specifications Analytical technology: RAMAN-only handheld technology Sample types: solid and liquid substances Through-container analysis: ability to analyse through transparent or translucent containers Fluorescence mitigation: 1064 nm laser, or equivalent fluorescence reduction method. Detectable substances: explosives, narcotics, CWAs, TICs, precursors, industrial chemicals. Mixture analysis: automatic identification of at least 04 components Sampling method: non-destructive, non-contact or near-contact analysis Analysis time: 30 seconds or less (typical) Spectral library size: minimum 10 000 substances Weight : 5kg maximum Environmental protection: minimum IP 67 rating Operating temperature: - 20 ° C to + 50 ° C Battery operating time: minimum 02 hours continuous operation 2/Documentation User manual delivered with each delivered spectrometer. Language: English Arabic: Optional 3/ Warranty : The warranty must remain valid for a minimum of 1 year from the provional acceptance of the goods. INCOTERM : DDP EUBAM LIBYA PALM CITY/TRIPOLI LIBYA QTY: 5 (Five) |  |  |  |
| 2 | TRAINING SESSIONS ON HANDHELD SPECTROMETERS USAGE The training sessions provided will consist on: - Two (02) days per training implementation training session (use/implementation of the system/user maintenance) for 10 participants maximum per day. - Location of training: Tripoli/Libya - Duration of each training: 02 days in a row (day = 07 hours). - Each day: - Morning: explanation of the usage of the system and user maintenance will be granted; - Afternoon: practical exercises. - Language of the training: Arabic/English: - The translation will be provided by an EUBAM interpreter - Educational resources: - Documentation/teaching aids to be provided by the tenderer to each trainee. - One set of documentation will be provided to EUBAM Libya NB 01: The exact dates of the training sessions will be communicated once equipment has been delivered to Libya. Trainings must be completed within a maximum of 2 months from the date of provisional acceptance of the goods. NB 02: The Bidder’s rate Offer will include: Costs of trainer (visa, flight tickets, accommodation, food, transportation on site between accommodation and training plus any additional cost) The Libyan authorities will provide: - a classroom or designated site with the necessary handheld spectrometers. - ease of access to the site. INCOTERM : DDP EUBAM LIBYA/TRIPOLI LIBYA QTY: 02 (Two) |  |  |  |